Question: Bubble humidifier is indicated with oxygen when flow is:

(a) 1 L always mandatory

(b) Generally 4 L and above, or per policy/symptoms — low 1–3 L often needs none unless dry/bleed

(c) Never at any flow

(d) Only with room air

Answer: b

Solution: ✅ Correct Answer: b. High dry flow = humidify.

🧠 Clinical Rationale: High flows strip mucosa — humidification adds vapour; low flows carry enough ambient moisture unless crusting.

❌ Why Not Others: (a) overuses; (c) desiccates high flows; (d) nonsense.

⚡ 5-Second Recall: ≥4 L = humidify 💧

Question: Humidifier bottle grows cloudy with low water and odd smell. Action is:

(a) Top with tap water and continue

(b) Discard water, clean/replace bottle + sterile distilled to level per policy, check dates

(c) Shake and use cloudy water

(d) Add antibiotic to bottle

Answer: b

Solution: ✅ Correct Answer: b. Cloudy = contaminated.

🧠 Clinical Rationale: Warm wet bottles culture Pseudomonas/Legionella — fresh sterile system breaks chain.

🛡️ Safety Link: Dated bottles + closed circuit.

❌ Why Not Others: (a)/(c)/(d) seed, reuse or medicate water.

⚡ 5-Second Recall: Cloudy bottle = replace sterile 💧

Question: No bubbles in humidifier despite 6 L set means:

(a) Excellent humidification

(b) Block/kink, empty bottle, leak or flowmeter off — trace source-to-patient, unkink, seal, refill, verify flow

(c) Patient cured

(d) Higher FiO2 automatically

Answer: b

Solution: ✅ Correct Answer: b. Silent bottle = no flow.

🧠 Clinical Rationale: Bubbles prove gas path — absent means obstruction, leak or closed knob.

🔍 Key Clues: No bubbles + flow set = circuit check.

❌ Why Not Others: (a)/(c)/(d) celebrate failure.

⚡ 5-Second Recall: No bubbles = trace circuit 💧

Question: Oxygen tubing and cannula/mask for one patient should be:

(a) Shared between two beds to save

(b) Single-patient, changed per policy/soiling, dated and intact — no sharing

(c) Washed with tap and shared

(d) Used for a month uncleaned

Answer: b

Solution: ✅ Correct Answer: b. One patient-one circuit.

🧠 Clinical Rationale: Warm moist plastic films germs — single use plus scheduled change cuts cross-infection.

🛡️ Safety Link: Date-tag circuits.

❌ Why Not Others: (a)/(c)/(d) swap or farm infection.

⚡ 5-Second Recall: O2 circuit = single-patient 🚫

Question: Cylinder valve sticks and hisses loudly at neck. First action is:

(a) Oil the valve to silence

(b) Close valve, check washer/seal, refit without force/oil, leak-test with approved method, replace faulty cylinder — no oil/grease near O2

(c) Hammer the valve open

(d) Smoke while fixing to see leak

Answer: b

Solution: ✅ Correct Answer: b. Washer + fit, never oil/hammer.

🧠 Clinical Rationale: Worn Bodok seals hiss — oil + O2 explodes, force snaps stems; correct seal silences safely.

🔥 Fire: Oil + high-pressure O2 = bomb.

❌ Why Not Others: (a)/(c)/(d) ignite, break or torch.

⚡ 5-Second Recall: Hiss = washer, never oil 🔥

Question: Storing ward cylinders safely means:

(a) Lying loose near heaters

(b) Upright chained in cool ventilated bay, full/empty segregated, capped, away from heat/flames/grease with signage

(c) In locked toilet without signage

(d) Horizontal under beds

Answer: b

Solution: ✅ Correct Answer: b. Chained, capped, cool, signed.

🧠 Clinical Rationale: Falls snap valves into missiles; heat raises pressure; grease ignites — rack + chain + caps tame all.

🛡️ Safety Link: Full/empty zones prevent mid-shift empties.

❌ Why Not Others: (a)/(c)/(d) missile, mystery or trip.

⚡ 5-Second Recall: Cylinders = upright chained capped 🧳

Question: Flowmeter float drops to zero mid-therapy with sats falling. Check order is:

(a) Patient-colour only tomorrow

(b) Source-cyl/pipeline, knobs, tubing, humidifier, device fit, then patient lungs — machine before lungs, fast

(c) Remove oximeter to stop alarm

(d) Document zero as normal

Answer: b

Solution: ✅ Correct Answer: b. Source-to-face in seconds.

🧠 Clinical Rationale: Empty cylinder, closed knob, kink or disconnection starves first — rapid trace restores before lungs tire.

🚨 Priority Principle: FIRST restore flow, then reassess lungs.

❌ Why Not Others: (a)/(c)/(d) delay, silence or normalise.

⚡ 5-Second Recall: Sats fall + zero flow = source-to-face 🔍

Question: Cleaning reusable flowmeter/humidifier housings needs:

(a) Rinse in ward sink and air-dry on floor

(b) Detach, disinfect per policy, dry, dust-cap ports, dated storage — no tap-water residue in air path

(c) Soak in oil for shine

(d) No cleaning ever

Answer: b

Solution: ✅ Correct Answer: b. Disinfect-dry-cap-date.

🧠 Clinical Rationale: Biofilm in air paths seeds lungs — policy-grade disinfection plus capped storage keeps next patient safe.

❌ Why Not Others: (a) wets with tap flora; (c) fires; (d) farms germs.

⚡ 5-Second Recall: O2 gear = disinfect-cap-date 🧼

Question: Portable cylinder math for transfer — 400 L left at 4 L/min gives:

(a) 10 minutes only

(b) About 100 minutes — pressure-volume ÷ flow, minus safety reserve, plus spare + sats en route

(c) Unlimited time

(d) No need to calculate

Answer: b

Solution: ✅ Correct Answer: b. Divide then reserve.

🧠 Clinical Rationale: Litres ÷ L/min = minutes — reserve covers delays/traffic; spare prevents corridor empties.

🧮 Calculation Check: 400 ÷ 4 = 100 min – reserve.

❌ Why Not Others: (a) misdivides; (c)/(d) gamble.

⚡ 5-Second Recall: L ÷ L/min = minutes 🧮

Question: Overfilled humidifier bottle spilling water into tubing causes:

(a) Better humidification

(b) Gurgling, resistance and aspiration risk — fill only to marked level, drain tubing downhill, keep bottle upright below face level

(c) Higher FiO2

(d) Quieter therapy

Answer: b

Solution: ✅ Correct Answer: b. Overfill drowns circuit.

🧠 Clinical Rationale: Water slugs block gas and seed lungs — level marks plus loop-downhill drainage keep water in bottle, air in tube.

❌ Why Not Others: (a)/(c)/(d) mistake flood for function.

⚡ 5-Second Recall: Fill to line, tube downhill 💧

Question: Cracked oxygen tubing taped with plaster and reused causes:

(a) Safe saving

(b) Leak + infection + disconnection — replace cracked/kink-yellowed tubing, no tape fixes

(c) Higher pressure delivery

(d) Sterile repair

Answer: b

Solution: ✅ Correct Answer: b. Cracked = replace.

🧠 Clinical Rationale: Cracks leak FiO2 and suck room germs — tape neither seals pressure nor sterilises.

🛡️ Safety Link: Supple, clear, dated tubing only.

❌ Why Not Others: (a)/(c)/(d) celebrate patchwork.

⚡ 5-Second Recall: Cracked tube = replace, never tape 🚫

Question: Central pipeline gauge shows 4 kg/cm2 but bed flow zero. Likely is:

(a) Pipeline failure for whole hospital at once

(b) Bed valve closed, kink, or faulty flowmeter — check bed valve + meter + tubing before declaring pipeline dead

(c) Patient lungs closed

(d) Normal finding

Answer: b

Solution: ✅ Correct Answer: b. Bed-level block first.

🧠 Clinical Rationale: Zone pressure good + bed zero = local knob/kink/meter fault — seconds to fix versus panic call.

🔍 Key Clues: Gauge good + bed zero = local check.

❌ Why Not Others: (a) jumps to disaster; (c)/(d) blame lungs or normalise.

⚡ 5-Second Recall: Zone good + bed zero = bed valve/meter 🔍

Question: Empty cylinder still connected with pin-index intact shows zero but hisses slightly. Action is:

(a) Force open fully to squeeze last gas

(b) Close, tag EMPTY, segregate to empty bay, connect full with new washer and test — never run empties

(c) Shake to make gas

(d) Heat to raise pressure

Answer: b

Solution: ✅ Correct Answer: b. Empty = tag + swap.

🧠 Clinical Rationale: Dregs cannot hold sats and suck back moisture — tagged segregation stops mid-shift surprises.

📝 Handover: Full/empty counts each shift.

❌ Why Not Others: (a)/(c)/(d) squeeze, shake or cook emptiness.

⚡ 5-Second Recall: Empty = tag + empty bay 🧳

Question: Reusable nasal prongs washed with tap water and shared after drying are:

(a) Safe after drying

(b) Forbidden — single-patient disposables, no sharing; tap rinse leaves biofilm

(c) Sterile if sun-dried

(d) Better than new

Answer: b

Solution: ✅ Correct Answer: b. Prongs = one nose only.

🧠 Clinical Rationale: Nares flora films plastic — sharing swaps viruses/MRSA; disposables plus policy change end chain.

🛡️ Safety Link: Soiled = replace, never reassign.

❌ Why Not Others: (a)/(c)/(d) bless sharing.

⚡ 5-Second Recall: Prongs = one patient only 👃

Question: Oxygen outlet dust caps missing with lint inside ports. Risk and fix is:

(a) No risk; lint oxygenates too

(b) Emboli + ignition + flow block — cap when idle, purge/dust before connect per policy

(c) Better flow with lint

(d) Sweet smell improves care

Answer: b

Solution: ✅ Correct Answer: b. Cap + purge.

🧠 Clinical Rationale: Lint fires in O2 and plugs meters — capped idle ports plus brief purge clear path safely.

❌ Why Not Others: (a)/(c)/(d) deny fire/physics.

⚡ 5-Second Recall: Idle outlet = capped 🧢

Question: Adult and paediatric flowmeters look alike but scales differ. Safety is:

(a) Any meter for any age

(b) Age-right meter + prescribed L/min double-check with second nurse for neonates/preterms

(c) Guess by knob feel

(d) Max flow for all babies

Answer: b

Solution: ✅ Correct Answer: b. Tiny lungs need tiny exact flows.

🧠 Clinical Rationale: Neonatal 0.1–1 L errors hyperoxicate to blindness — low-flow meters plus dual check hold narrow targets.

👶 Paediatric: Blender + alarms where available.

❌ Why Not Others: (a)/(c)/(d) overdose babies.

⚠️ Exam Trap: Adult meter for neonate = ROP trap!

⚡ 5-Second Recall: Baby flow = paeds meter + double-check 👶

Question: Condensation rain-out in long tubing in cold ward causes:

(a) Extra humidification benefit

(b) Coughing, desat and infection — drain downhill, keep loops off cold floor, empty water traps away from patient

(c) Higher oxygen purity

(d) Silent safe water

Answer: b

Solution: ✅ Correct Answer: b. Rain-out drowns breaths.

🧠 Clinical Rationale: Cooled vapour condenses and slugs — downhill loops plus traps keep water out of airway.

🩺 Nursing Action: Lift-drain away, never toward patient.

❌ Why Not Others: (a)/(c)/(d) praise puddles.

⚡ 5-Second Recall: Rain-out = drain downhill 🌧️

Question: Equipment audit tag shows flowmeter calibration overdue by a year. Action is:

(a) Continue; calibration never matters

(b) Remove from service, tag for biomedical calibration, use calibrated spare — misread flows misdose O2/CO2 retainers

(c) Adjust by guess

(d) Hide tag to pass inspection

Answer: b

Solution: ✅ Correct Answer: b. Uncalibrated = unreliable dose.

🧠 Clinical Rationale: Worn bobbins misread litres — retainers narcotise or hypoxia lingers unseen.

📊 Quality: Calibration stickers are legal dose proof.

❌ Why Not Others: (a)/(c)/(d) guess, hide or deny.

⚡ 5-Second Recall: Overdue meter = out of service 📊

Question: Oropharyngeal airway (Guedel) is indicated in:

(a) Conscious gagging patient for comfort

(b) Unconscious without gag reflex with tongue fall — keeps tongue off posterior pharynx during bagging/suction

(c) Active vomiting with no suction

(d) Croup cough alone

Answer: b

Solution: ✅ Correct Answer: b. Unconscious + no gag + tongue block.

🧠 Clinical Rationale: Flaccid tongue seals hypopharynx — Guedel vaults it forward; gag present vomits/aspirates around it.

🚨 Priority Principle: FIRST open tongue-blocked airway — adjunct after head-tilt-jaw-thrust.

❌ Why Not Others: (a) triggers vomit/laryngospasm; (c) needs suction/position not plastic; (d) needs mist/steroids.

⚠️ Exam Trap: Conscious + OPA = vomit trap!

⚡ 5-Second Recall: OPA = unconscious, NO gag 😮

Question: Correct OPA size is measured:

(a) Nose to chin guess

(b) Corner of mouth to angle of jaw / earlobe — tip reaches hypopharynx without pushing epiglottis or falling short

(c) Any size fits all adults

(d) Wrist to elbow

Answer: b

Solution: ✅ Correct Answer: b. Mouth-corner to jaw-angle.

🧠 Clinical Rationale: Long pushes epiglottis to obstruct/vomit, short sinks tongue deeper — anatomic measure lands flange at lips with curve at tongue base.

📏 Visual: Flange at teeth, curve hugging tongue.

❌ Why Not Others: (a)/(c)/(d) misland or universalise.

⚡ 5-Second Recall: OPA size = mouth-corner to jaw-angle 📏

Question: Inserting OPA correctly involves:

(a) Push straight back scraping palate

(b) Upside-down past tongue then 180° rotate + advance, or tongue-depressor + curve-following insertion — check patency, breathing, sats

(c) Hammer with fist

(d) Insert nasally with force

Answer: b

Solution: ✅ Correct Answer: b. Invert-rotate or depressor-guided.

🧠 Clinical Rationale: Rotation vaults tongue without pushing it back; depressor avoids rotation trauma — placement verified by air movement, not depth marks.

🩺 Nursing Action: Measure ➡️ open ➡️ insert ➡️ position ➡️ breathe-look-listen-sats.

❌ Why Not Others: (a) shoves tongue back; (c)/(d) injure or misroute.

⚡ 5-Second Recall: OPA in = rotate into curve 🔄

Question: Nasopharyngeal airway (NPA) is preferred when:

(a) Skull-base fracture with bleeding nose

(b) Semi-conscious/trismus/seizing with intact gag where OPA triggers vomit — soft nasal trumpet stents nasopharynx

(c) Complete nasal block with polyps

(d) Active epistaxis gushing

Answer: b

Solution: ✅ Correct Answer: b. Gag present + mouth shut = nasal route.

🧠 Clinical Rationale: NPA bypasses clenched teeth and tolerates gag — flexible tube hugs floor of nose to hypopharynx.

🚨 Priority Principle: FIRST choose gag-tolerant adjunct.

❌ Why Not Others: (a) risks brain pass in base fracture; (c)/(d) meet blocked/bleeding nose.

⚠️ Exam Trap: Base fracture + nosebleed + NPA = brain injury trap!

⚡ 5-Second Recall: Gag + shut mouth = NPA 👃

Question: NPA size is measured:

(a) Mouth to ear guess

(b) Nostril to earlobe/tragus — tip past soft palate without hitting epiglottis

(c) Any small tube fits all

(d) Chest circumference

Answer: b

Solution: ✅ Correct Answer: b. Nostril to earlobe.

🧠 Clinical Rationale: Short whistles uselessly in nose, long gags/vomits in larynx — nose-ear measure parks tip in pharynx.

📏 Check: Diameter less than naris, bevel to septum.

❌ Why Not Others: (a)/(c)/(d) mis-size or universalise.

⚡ 5-Second Recall: NPA size = nostril to earlobe 📏

Question: NPA insertion must be:

(a) Dry forceful push upward

(b) Lubricated gentle pass along floor of nose perpendicular to face, bevel to septum, with bleeding watch — stop if resistance/bleed

(c) Twisted hard through block

(d) Done without consent/explanation where possible

Answer: b

Solution: ✅ Correct Answer: b. Lube + floor + bevel + bleed watch.

🧠 Clinical Rationale: Kiesselbach plexus tears easily — gel plus floor-hugging path slides while bevel spares turbinates; force fractures.

🛡️ Safety Link: Vasoconstrictor/lube per policy, suction ready.

❌ Why Not Others: (a)/(c) tear/break; (d) skips communication.

⚡ 5-Second Recall: NPA = lube + floor + gentle 🧴

Question: Vomiting occurs with OPA in place. Immediate action is:

(a) Push OPA deeper to block vomit

(b) Turn lateral, remove OPA, suction, reassess gag/consciousness — plastic + vomit = aspiration set

(c) Pour water to wash vomit down

(d) Leave and chart later

Answer: b

Solution: ✅ Correct Answer: b. Out + lateral + suck.

🧠 Clinical Rationale: Rigid flange holds mouth open while vomit pools — lateral drains, removal frees suction, reassessment decides NPA/position.

🚨 Priority Principle: FIRST drain vomit away from trachea.

❌ Why Not Others: (a)/(c) dam or drown; (d) delays.

⚡ 5-Second Recall: Vomit + OPA = remove + lateral + suck 🤮

Question: After OPA insertion breathing remains absent with good position. Next is:

(a) Assume OPA ventilates alone

(b) Escalate — bag-valve ventilation + emergency/advanced airway per ALS — adjunct opens, not breathes

(c) Bigger OPA will breathe

(d) Remove and wait

Answer: b

Solution: ✅ Correct Answer: b. Open ≠ ventilated.

🧠 Clinical Rationale: Guedel stents passage — apnoea still needs positive pressure + definitive tube; waiting asphyxiates brain.

🚨 Priority Principle: FIRST ventilate the open airway.

❌ Why Not Others: (a)/(c) worship plastic; (d) abandons apnoea.

⚡ 5-Second Recall: OPA open + no breath = bag + escalate 🎈

Question: NPA left for days without review risks:

(a) Nothing; NPA is permanent

(b) Pressure necrosis, sinusitis and infection — daily need review, rotation, patency/hygiene checks per orders

(c) Stronger nose cartilage

(d) Better smell

Answer: b

Solution: ✅ Correct Answer: b. Nose sores + sinuses.

🧠 Clinical Rationale: Alar pressure plus biofilm inflame sinuses — scheduled review removes when gag/mouth opens or definitive airway arrives.

📝 Documentation: Size, side, tolerance, patency, skin.

❌ Why Not Others: (a)/(c)/(d) immortalise, strengthen or perfume.

⚡ 5-Second Recall: NPA = daily review 👃

Question: Conscious head-injury patient with bloody nose needs airway help. Safest is:

(a) NPA forced through bloody nostril fast

(b) Avoid nasal route — OPA only if unconscious without gag, else positioning + suction + emergency neuro workup; nasal + base fracture = contraindicated

(c) Pack nose tightly and push NPA through pack

(d) Lay flat supine without monitoring

Answer: b

Solution: ✅ Correct Answer: b. Bloody nose + head injury = no nasal.

🧠 Clinical Rationale: Fracture lines reach cribriform — tubes enter cranium; lateral/recovery plus oral route protects brain.

⚠️ Exam Trap: Any head-base bleed + NPA = classic killer trap!

⚡ 5-Second Recall: Head bleed nose = NO nasal 🚫